## Instructions
Radiation Incident Reporting Instructions
This template provides instructions and templates for reporting of Radiation Incidents in Ontario. These reports should be submitted to radincident@cancercare.on.ca within the defined timeframe.
Incidents classified as Critical are to be reported within 2 working days of the event. Incidents classified with a lower severity are to be summarised and submitted quarterly. Any follow up reports or reclassifications will be submitted when deemed appropriate using the same template as for the corresponding initial report.
Definitions: The following definitions are intended to guide the evaluation and classification of incidents. These definitions are taken from: Consensus recommendations for incident learning database structures in radiation oncology. Med Phys. 2012 Dec;39(12):7272-90. doi: 10.1118/1.4764914
Radiation Incident: An unwanted or unexpected change from a normal system behaviour which causes or has the potential to cause an adverse effect to persons or equipment
Incident Classification
Critical incidents are classified into two categories: Type I And Type II
Type I: "Hardware or software errors that have a high probability of causing an unacceptable outcome for the patient or that pose an unacceptable risk to staff or members of the public."
Type II: "Errors in total dose (>25%) or targeting errors that have a high probability of producing an unacceptable outcome for the patient."
Incidents are also categorised according to origin selected from the following list
Accessories: Problems with shielding, compensators, attenuators, positioning devices.
Brachytherapy: Incidents associated with the delivery of brachytherapy.
Dosimetry: Errors in dose distributions, calculations, and treatment production.
Documentation: Inconsistencies in information recording, data entry, set-up instructions, communication of treatment detail.
Deviation from Protocol: Non-compliance with established procedures, failure to treat in accordance with plan.
Patient Positioning: Issues with landmarking, shifts, conformance with intended patient set up parameters.
Laterality: Confusion with patient orientation or the side of the patient to be treated.
Treatment Parameters: Errors with treatment unit settings such as collimator angle, gantry angle, field size, or energy.
Imaging: Acquisition of inappropriate simulation or verification images, mislabelling of image data.
Patient Identification: Inconsistent patient identifier information, mistaken identification of patient.
Equipment Malfunction: Inappropriate or unexpected performance on the part of either software or hardware.
Other: Any source of an incident that cannot be reasonably aligned with any of those listed above.

## Quarterly Template
Ontario Quarterly Radiation Incident Report
Organization Name | Princess Margaret Cancer Centre |  | Select Organization |  | Q1 - April to June
Q2 - July to September
Fiscal Year | 2015/16 |  | Select Year |  | Q3 - October to December
Fiscal Quarter |  |  | Select Quarter |  | Q4 - January to March
Category | Critical Type I | Critical Type II | Major | Serious | Minor | TOTAL
Actual | [5 empty] | 0
Incident Origin | Critical Type I | Critical Type II | Major | Serious | Minor | TOTAL
Accessories | [5 empty] | 0
Brachytherapy | [5 empty] | 0
Dosimetry | [5 empty] | 0
Documentation | [5 empty] | 0
Deviation from Protocol | [5 empty] | 0
Patient Positioning | [5 empty] | 0
Laterality | [5 empty] | 0
Treatment Parameters | [5 empty] | 0
Imaging | [5 empty] | 0
Patient Identification | [5 empty] | 0
Equipment Malfunction | [5 empty] | 0
Other | [5 empty] | 0
Total | 0 | 0 | 0 | 0 | 0 | 0
Reporting Incident Lead (RIL)
Telephone |  |  |  | Submission Due Dates
Email |  |  |  | Q1 due date = August 1
Reporting - Other |  |  |  | Q2 due date = November 1
Telephone |  |  |  | Q3 due date = February 1
Email |  |  |  | Q4 due date = May 1
2005/06 | Q1 | Cancer Centre of Southeastern Ontario
2006/07 | Q2 | Carlo Fidani Peel Regional Cancer Centre
2007/08 | Q3 | Grand River Regional Cancer Centre
2008/09 | Q4 | Juravinski Cancer Centre
2009/10 |  | London Regional Cancer Program
2010/11 |  | Northeastern Ontario Regional Cancer Centre
2011/12 |  | Thunder Bay Regional Health Sciences Centre
2012/13 |  | Princess Margaret Cancer Centre
2013/14 |  | R.S. McLaughlin Durham Regional Cancer Centre
2014/15 |  | Simcoe-Muskoka Regional Cancer Centre
2015/16 |  | Southlake Regional Cancer Centre
2016/17 |  | The Ottawa Hospital Regional Cancer Centre
2017/18 |  | Toronto Sunnybrook Regional Cancer Centre
2018/19 |  | Windsor Regional Cancer Centre

## Critical Incident Report
Ontario Critical Radiation Incident Report
| Initial Report: |  | Follow Up Required:
1. Integrated Cancer Program:
Organization Name
ICP Vice President
ICP Contact
2. Specifics:
Date of Incident (ddMMyy)
Effect on Patient | Actual: |  | Potential:
Error Type | Hardware: | Software: |  | Clinical Process:
Number of Patients Affected
Product Name
Product Version
Manufacturer
Manufacturer advised: | Yes: | No: |  | N/A:
3. Description:
Hazard:
Remedial Action:
Recommendations:
Comments:
4. Report Author(s):
Name | Signature | Title/Position |  | Date
Cancer Centre of Southeastern Ontario
Carlo Fidani Peel Regional Cancer Centre
Grand River Regional Cancer Centre
Juravinski Cancer Centre
London Regional Cancer Program
Northeastern Ontario Regional Cancer Centre
Thunder Bay Regional Health Sciences Centre
Princess Margaret Hospital
R.S. McLaughlin Durham Regional Cancer Centre
Simcoe-Muskoka Regional Cancer Centre
Southlake Regional Cancer Centre
The Ottawa Hospital Cancer Centre
Toronto Sunnybrook Regional Cancer Centre
Windsor Regional Cancer Centre

## Lists
| 13 | 12 | 32
FALSE | January | 2005 | 1 | Cancer Centre of Southeastern Ontario
FALSE | February | 2006 | 2 | Carlo Fidani Peel Regional Cancer Centre
FALSE | March | 2007 | 3 | Grand River Regional Cancer Centre
FALSE | April | 2008 | 4 | Juravinski Cancer Centre
FALSE | May | 2009 | 5 | London Regional Cancer Program
FALSE | June | 2010 | 6 | Northeastern Ontario Regional Cancer Centre
FALSE | July | 2011 | 7 | Princess Margaret Hospital
FALSE | August | 2012 | 8 | R.S. McLaughlin Durham Regional Cancer Centre
FALSE | September | 2013 | 9 | Simcoe-Muskoka Regional Cancer Centre
FALSE | October | 2014 | 10 | Southlake Regional Cancer Centre
| November | 2015 | 11 | The Ottawa Hospital Cancer Centre
| December |  | 12 | Thunder Bay Regional Health Sciences Centre
|  |  | 13 | Toronto Sunnybrook Regional Cancer Centre
|  |  | 14 | Windsor Regional Cancer Centre
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31